{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet0"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"Sheet0","index":0,"n_rows":3,"n_cols":8,"rows_kept":3,"merged":[[0,0,0,7]]}
["任务台账"]
["序号","检查对象","所属区县","任务类型","执法人员","检查时间","是否发现问题","检查情况"]
["1","河源市宏颢检测技术有限公司","源城区","双随机/监测机构","谢小平、黄晓俊、李泽\n（市生态环境监测监控中心、河源生态环境监测站专家协助）","2025-3-13","发现一般问题","现场检查情况：\n1.六级微生物采样器已过检定时间，未贴停用标签；\n2.配制后的标样已失效，未及时处理；\n3.监测报告E24070101，噪声监测未按社会生活环境噪声排放标准（GB22337-2008）规范要求；2024年电导率仪期间核查记录表未按规范填写。\n  针对上述问题，已现场要求企业整改。"]